# Health

# And

# Safety

# Legal Register

Schools Health & Safety Legal Register List

| S/N | Acts/Regulation/Guidance | Section |
| --- | --- | --- |
|  | Health And Safety (First-Aid) Regulations 1981, As Amended | Accidents and Emergencies |
|  | Reporting Of Injuries, Diseases And Dangerous Occurrences Regulations 2013 (RIDDOR) |  |
|  | Construction (Design And Management) Regulations 2015 | Construction, Design and Management |
|  | Electricity At Work Regulations 1989, As Amended | Electrical Safety |
|  | Regulatory Reform (Fire Safety) Order 2005, As Amended | Fire Protection and Buildings |
|  | Gas Safety (Installation And Use) Regulations 1998, As Amended | Gas Safety |
|  | Control Of Substances Hazardous To Health Regulations 2002, As Amended | Hazardous Substances/Chemicals |
|  | Lifting Operations And Lifting Equipment Regulations 1998 (LOLER), As Amended | Lifting |
|  | Health And Safety At Work Etc. Act 1974, As Amended | Management of Health and Safety |
|  | Occupiers Liability Act 1957 / 1984 |  |
|  | Health Act 2006, As Amended |  |
|  | Corporate Manslaughter And Corporate Homicide Act 2007 |  |
|  | Health And Safety (Offences) Act 2008 |  |
|  | Management Of Health And Safety At Work Regulations 1999, As Amended |  |
|  | Employers' Liability (Compulsory Insurance) Regulations 1998, As Amended |  |
|  | Health And Safety (Consultation With Employees) Regulations 1996, As Amended |  |
|  | Safety Representatives And Safety Committees Regulations 1977, As Amended |  |
|  | Health And Safety Information For Employees Regulations 1989, As Amended |  |
|  | Health And Safety (Safety Signs And Signals) Regulations 1996, As Amended |  |
|  | Control Of Asbestos Regulations 2012 | Occupational Health |
|  | Control Of Noise At Work Regulations 2005, As Amended |  |
|  | Control Of Vibration At Work Regulations 2005, As Amended |  |
| S/N | Acts/Regulation/Guidance | Section |
|  | Legionnaires Disease: The Control Of Legionella Bacteria In Water Systems, ACoP 2013 | Others |
|  | Coronavirus Act 2020 |  |
|  | Coronavirus: Restrictions On Movement, Gatherings And Business Premises |  |
|  | Personal Protective Equipment At Work Regulations 1992, As Amended | Personal Protective Equipment |
|  | Provision and Use of Work Equipment Regulations 1998 (PUWER) | Plant and Machinery |
|  | Supply Of Machinery (Safety) Regulations 2008, As Amended |  |
|  | Motor Vehicles (Driving Licences) Regulations 1999, As Amended | Transport |
|  | Confined Spaces Regulations 1997 | Safe Systems of Work |
|  | Manual Handling Operations Regulations 1992, As Amended |  |
|  | Health And Safety (Display Screen Equipment) Regulations 1992, As Amended |  |
|  | Work At Height Regulations 2005, As Amended |  |
|  | Workplace (Health, Safety And Welfare) Regulations 1992, As Amended | Workplace Conditions And Housekeeping |

Schools Health & Safety Legal Register

| Sections |  |  |  |
| --- | --- | --- | --- |
| Accidents and Emergencies |  |  |  |
| S/N | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Health And Safety (First-Aid) Regulations 1981, As Amended | This regulation places duties on an employer to provide equipment and facilities trained first aiders appropriate for managing ill health at work. | - Carry out a first aid needs assessment to understand how many first aiders the school requires. - If first aid rooms are provided they must be easily accessible - Inform employees of arrangements for first aid - Training to be provided for first-aiders - Ensure first aid boxes are properly equipped and monitored to ensure stock is replenished |
|  | Reporting Of Injuries, Diseases And Dangerous Occurrences Regulations 2013 (RIDDOR) | This regulation requires the Health and Safety Executive to be informed and have records kept for 3years of certain specified injuries, diseases and dangerous occurrences which arise out of or in connection with work including - Death of a person - Employee suffers a specified injury at work, listed in Schedule 1 - Member of the public is taken directly to the hospital and requires treatment. - One of the specified lists of dangerous occurrences - Employee suffers one of several specified diseases. The HSE should be sent a report within 15 days where a person is unable for work to more than 7 consecutive days, excluding the day of the accident, but including days which would not have been working days | - Have an accident reporting procedure and investigation in place - Inform staff of your accident reporting procedure - Delegate a responsible person to ensure accident forms are completed and reported to the HSE when necessary |
| Construction, Design and Management |  |  |  |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Construction (Design And Management) Regulations 2015 | These regulations establish requirements for health and safety management and provisions for construction projects. Notifiable projects must be notified to the HSE using the F10 form. These are those lasting more than 30 working days where more than 20 workers are working simultaneously; or Where the project exceeds 500 person days. | - Appoint a competent person to manage construction projects on school sites - Ensure duty holders are appointed - Construction phase plans are reviewed and implemented |
|  | Electrical Safety |  |  |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Electricity At Work Regulations 1989, As Amended | The Electricity at Work Regulations imposes requirements on the control of work alongside and with electrical systems and the design and installation of these systems. They place duties on employers, employees and the self-employed to take precautions against the risk of death or personal injury from electricity in work activities. | - Ensure new electrical systems are installed to a suitable standard - Carry out EICR to ensure existing electrical systems are maintained. - Carry out preventative maintenance (Pre-use checks by users, Visual inspection by premises team, Portable appliance testing PAT) - Use of contractors - Although it is not a legal requirement, maintaining a record and labelling system can be a useful way to monitor and review the effectiveness of the maintenance scheme |

| Fire Protection and Buildings |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Regulatory Reform (Fire Safety) Order 2005, As Amended | The Regulatory Reform (Fire Safety) Order 2005 covers general fire safety in England and Wales. This requires the Responsible Person to carry out a risk assessment to demonstrate that the fire safety precautions are adequate | - Carry out a Fire Risk Assessment - Complete actions from FRA - Review Fire Risk Assessment annually - Complete a minimum of 6 monthly fire alarm testing - Complete an annual emergency lighting testing - Complete a flick test of emergency lighting at least once a month - Service firefighting equipment annually - Ensure routes to emergency exits are kept clear at all times - Ensure good housekeeping - Staff training - Ensure checks on the fire panel are completed |

| Gas Safety |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Gas Safety (Installation And Use) Regulations 1998, As Amended | These Regulations place duties on every employer to ensure that any gas appliance, installation pipework or flue installed at any place of work under his control is maintained in a safe condition to prevent the risk of injury to any person. | - Ensure gas engineers/contractors who work on the gas fittings in the school are registered with a class of persons approved by HSE(Gas Safe) - Carry out annual safety checks on gas appliances and flues - This includes the gas tightness (soundness, or pressure decay test) of the installation, inspection of appliances, flues and installation pipework. - Records of annual gas safety checks must be kept - Staff should know where the emergency control (stop button) is and actions to take in case of an emergency-Where this control is not adjacent to a meter, a notice must be posted adjacent to the control describing the procedure in the event of a gas escape. |

| Hazardous Substances/Chemicals |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Control Of Substances Hazardous To Health Regulations 2002, As Amended | These regulations require employers to control substances that can harm workers' health. Reg. 6-13 focuses on Reg. 6 - Assessment of the health risks created by work involving substances hazardous to health Reg. 7 - Prevention or control of exposure to substances hazardous to health by either substitution or other control measures Reg. 8 - Effective use of control measures Reg. 9 - Maintenance, examination and testing of control measures Reg. 10 - Monitoring exposure at the workplace Reg. 11 - Health Surveillance Reg. 12 - Information, instruction and training for persons who may be exposed to substances hazardous to health Reg. 13 - Arrangements to deal with accidents, incidents and emergencies | - Complete a COSHH Risk Assessment - Safety Data Sheets are available - Implement findings from the COSHH risk assessment - Local exhaust ventilation plants should be examined and tested at least once every 14 months - COSHH Training for the premises, cleaning staff - Monitoring and health surveillance where the risk assessment indicates |