# Statutory Inspections and Building Maintenance Programme

Table of Contents

This document is in 5 parts

PART 1 Electrical Management

PART 2 Fire And Life Management

PART 3 Mechanical Management

PART 4 Water Monitoring and Maintenance

PART 5 Building Fabric, School Area and Equipment

PART 1 Electrical Management													Statutory Items = Bold Blue

| Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Electrical Installation Condition Report (EICR) |  | Maximum 5 Yearly (Frequency may be less and should comply with guidance note 3 of BS7671) |  |  |  |  |
| 2 | Portable Appliance Testing Records |  | Annually |  |  |  |  |
| 3 | Lightning Protection System |  | Annually |  |  |  |  |
| 4 | RCD Testing |  | 6 Monthly |  |  |  |  |
| 5 | UPS (Uninterruptible Power Supply) Maintenance |  | 6 Monthly |  |  |  |  |
| 6 | Disabled WC Call Alarms |  | Monthly |  |  |  |  |
| 7 | Automated Gates and Barriers |  | 6 Monthly |  |  |  |  |
| 8 | Intruder Alarm Maintenance |  | 6 Monthly |  |  |  |  |
| 9 | CCTV Maintenance Records |  | 6 Monthly |  |  |  |  |
| 10 | Access Control Maintenance |  | 6 Monthly |  |  |  |  |
| 11 | P.A. System Maintenance |  | 6 Monthly |  |  |  |  |
| 12 | Hearing Loop Induction Records |  | 6 Monthly |  |  |  |  |
| 13 | Microwave Emission Test |  | Annually |  |  |  |  |

PART 2 Fire And Life Management

Statutory Items = Bold Blue

| Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Fire Risk Assessment |  | Reviewed Annually |  |  |  |  |
| 2 | Fire Alarm Weekly Test Records (Call points) |  | Weekly |  |  |  |  |
| 3 | Fire Detection & Alarm Service |  | 6 Monthly |  |  |  |  |
| 4 | Fire Suppression Maintenance (Kitchen Systems) |  | Annually |  |  |  |  |
| 5 | Portable Fire Extinguisher service |  | Annually |  |  |  |  |
| 6 | Wet/Dry Riser Test Records |  | Annually |  |  |  |  |
| 7 | Fire Hydrant Test Records |  | Annually |  |  |  |  |
| 8 | Fire Curtains |  | 6 Monthly |  |  |  |  |
| 9 | Fire Suppression System Ansul |  | 6 Monthly |  |  |  |  |
| 10 | Fire Shutters |  | 6 Monthly |  |  |  |  |
| 11 | Spring Loader Fire Dampers |  | Annually |  |  |  |  |
| 12 | Mechanical Fire Dampers |  | 2 Yearly |  |  |  |  |
| 13 | Sprinkler System Weekly Test |  | Weekly |  |  |  |  |
| 14 | Sprinkler System Maintenance |  | 6 Monthly |  |  |  |  |
| 15 | Emergency Lights Flick Test |  | Monthly |  |  |  |  |
| 16 | Central Battery System Records |  | Annually |  |  |  |  |
| 17 | Emergency Lights Annual Test |  | Annually |  |  |  |  |

PART 2 Fire And Life Management

Statutory Items = Bold Blue

| Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 18 | Lift Phone Checks |  | Monthly |  |  |  |  |
| 19 | Fire Door Inspections (Push bar) |  | Monthly |  |  |  |  |
| 20 | Fire Evacuation Procedure |  | Reviewed Annually |  |  |  |  |
| 21 | Fire Alarm False Activation Records |  | As occurs |  |  |  |  |
| 22 | Fire Alarm Planned Evacuation Records |  | Annually |  |  |  |  |
| 24 | Fire Signage Checks |  | Monthly |  |  |  |  |
| 25 | Means of Escape Inspections |  | Weekly |  |  |  |  |
| 26 | Fire Evacuation Chair |  | Annually |  |  |  |  |

PART 3 Mechanical Management

Statutory Items = Bold Blue

| Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Carcass Test/Gas Pipework Soundness |  | Annually |  |  |  |  |
| 2 | LPG Pipework & Tank - Test & Inspection |  | Annually |  |  |  |  |
| 3 | Gas Water Heater Test/ Boilers/Service Records |  | Annually/Periodic service sheets |  |  |  |  |
| 4 | Pressure Systems - Insurance Inspection |  | Annually |  |  |  |  |
| 5 | Gas Proving System (Used anywhere gas pressure needs to be monitored, mostly in science labs, food tech catering) |  | Annually |  |  |  |  |
| 6 | Gas Catering Equipment Tests/Maintenance |  | Annually/Periodic service sheets |  |  |  |  |
| 7 | LEV Insurance Inspections |  | Annually |  |  |  |  |
| 8 | LEV Maintenance Records |  | Annually |  |  |  |  |
| 9 | Fume Cupboard Maintenance |  | Annually |  |  |  |  |
| 10 | Fume Cupboard Insurance Inspections |  | Annually |  |  |  |  |
| 11 | Lifting Equipment Examinations |  | Monthly |  |  |  |  |
| 12 | Oil/ Diesel Tank Inspections |  | 6 Monthly |  |  |  |  |
| 13 | Passenger Lifts Maintenance |  | 6 Monthly (min) |  |  |  |  |
| 14 | Passenger Lift Insurance Inspection |  | 6 Monthly |  |  |  |  |
| 15 | Hoist Insurance Inspections |  | 6 Monthly |  |  |  |  |

Guidance Version Control  NAME OF DOCUMENT: Statutory Inspections and Building Maintenance Programme	VERSION: NASPM V3