## Title Page
Statutory Inspections and Building Maintenance Programme
Document 25

## Statutory Inspection&Building M
Statutory Inspections and Building Maintenance Programme
Statutory Items are in Bold
PART 1- Electrical Management
Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed
1 | Electrical Installation Condition Report (EICR) |  | Maximum 5 Yearly (Frequency may be less and should comply with guidance note 3 of BS7671)
2 | Portable Appliance Testing Records |  | Annually
3 | Lightning Protection System |  | Annually
4 | RCD Testing |  | 6 Monthly
5 | UPS (Uninterruptible Power Supply) Maintenance |  | 6 Monthly
6 | Disabled WC Call Alarms |  | Monthly
7 | Automated Gates and Barriers |  | 6 Monthly
8 | Intruder Alarm Maintenance |  | 6 Monthly
9 | CCTV Maintenance Records |  | 6 Monthly
10 | Access Control Maintenance |  | 6 Monthly
11 | P.A. System Maintenance |  | 6 Monthly
12 | Hearing Loop Induction Records |  | 6 Monthly
13 | Microwave Emission Test |  | Annually
PART 2 - Fire And Life Management
Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed
1 | Fire Risk Assessment |  | Reviewed Annually
2 | Fire Alarm Weekly Test Records (Call points) |  | Weekly
3 | Fire Detection & Alarm Service |  | 6 Monthly
4 | Fire Suppression Maintenance (Kitchen Systems) |  | Annually
5 | Portable Fire Extinguisher service |  | Annually
6 | Wet/Dry Riser Test Records |  | Annually
7 | Fire Hydrant Test Records |  | Annually
8 | Fire Curtains |  | 6 Monthly
9 | Fire Suppression System Ansul |  | 6 Monthly
10 | Fire Shutters |  | 6 Monthly
11 | Spring Loader Fire Dampers |  | Annually
12 | Mechanical Fire Dampers |  | 2 Yearly
13 | Sprinkler System Weekly Test |  | Weekly
14 | Sprinkler System Maintenance |  | 6 Monthly
15 | Emergency Lights Flick Test |  | Monthly
16 | Central Battery System Records |  | Annually
17 | Emergency Lights Annual Test |  | Annually
18 | Lift Phone Checks |  | Monthly
19 | Fire Door Inspections (Push bar) |  | Monthly
20 | Fire Evacuation Procedure |  | Reviewed Annually
21 | Fire Alarm False Activation Records |  | As occurs
22 | Fire Alarm Planned Evacuation Records |  | Annually
24 | Fire Signage Checks |  | Monthly
25 | Means of Escape Inspections |  | Weekly
26 | Fire Evacuation Chair |  | Annually
PART 3 - Mechanical Management
Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed
1 | Carcass Test/Gas Pipework Soundness |  | Annually
2 | LPG Pipework & Tank - Test & Inspection |  | Annually
3 | Gas Water Heater Test/Boilers/Service Records |  | Annually/Periodic service sheets
4 | Pressure Systems - Insurance Inspection |  | Annually
5 | Gas Proving System (Used anywhere gas pressure needs to be monitored, mostly in science labs, food tech catering) |  | Annually
6 | Gas Catering Equipment Tests/Maintenance |  | Annually/Periodic service sheets
7 | LEV Insurance Inspections |  | Annually
8 | LEV Maintenance Records |  | Annually
9 | Fume Cupboard Maintenance |  | Annually
10 | Fume Cupboard Insurance Inspections |  | Annually
11 | Lifting Equipment Examinations |  | Monthly
12 | Oil/ Diesel Tank Inspections |  | 6 Monthly
13 | Passenger Lifts Maintenance |  | 6 Monthly (min)
14 | Passenger Lift Insurance Inspection |  | 6 Monthly
15 | Hoist Insurance Inspections |  | 6 Monthly
16 | Hoists Maintenance |  | 6 Monthly
17 | Mansafe/Latchway Maintenance |  | Annually
18 | Eyebolt Test Records |  | Annually
19 | Mansafe/Latchway Insurance Inspection |  | Annually
20 | Lifting Beams Inspections |  | 5 Yearly
21 | A/C Systems F - Gas Documents (Safe Handling & records of work) |  | As required
22 | A/C Systems F - Gas Documents - Leak test for applications containing more than 3kg |  | Annually
23 | A/C Systems F - Gas Documents - Leak test for applications containing more than 30kg |  | 6 Monthly
24 | A/C Systems F - Gas Documents - Leak test for applications containing more than 300kg |  | 3 Monthly
25 | Radon Survey (Radon Gas Levels Assessment) |  | As required
26 | Fixed Access Ladder Inspections |  | 6 Monthly
27 | Generator Service Records |  | 6 Monthly
28 | Petrol Interceptor Maintenance |  | Annually
PART 4 - Water Monitoring and Maintenance
Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed
1 | Water Risk Assessment |  | 2 years review
2 | Monitoring as Instructed Per Risk Assessment |  | As per WRA
3 | Flushing of Infrequently Used Outlets |  | Weekly
4 | Readings of cold water temperature at sentinel outlets. These outlets should be below 20 °C (Nearest and furthest outlets from the storage tanks and water heaters). |  | Monthly
5 | Readings of hot water temperature at sentinel outlets. These outlets should be above 50 °C (nearest and furthest outlets from the storage tanks and water heaters). |  | Monthly
6 | Hot Water Storage Cylinders Check (Calorifiers) |  | Annually/As per WRA
7 | Shower Head/Hoses Cleaned & Descaled |  | Quarterly
8 | Thermostatic Mixing Valve Maintenance (TMV) |  | Annually/As per WRA
9 | Tank Chlorination |  | Annually/As per WRA
10 | Swimming Pools/Hydrotherapy Water Regime |  | Daily/Weekly
11 | Drinking Fountain |  | 3 Monthly or as defined via r/a
12 | Microbiology/Water Quality Sampling/as per r/a |  | 6 Monthly or as defined via r/a
PART 5 - Building Fabric, School Area and Equipment
Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed
1 | Gym Equipment Inspection |  | Annually
2 | Kitchen Deep Clean Records including TR19 |  | Annually
3 | Mobile Lighting Gantry Inspect |  | Annually
4 | Asbestos Survey (Re-inspection) |  | Annually
5 | Asbestos Management plan/Inspections |  | 6 monthly depending on AMP
6 | DEC Display Energy Certificate |  | Annually
7 | Kitchen Grease Trap Records |  | 6 Monthly
8 | Kitchen Extract Canopy Maintenance |  | Annually
9 | Ductwork Cleaning Records |  | Annually
10 | Automatic Door Maintenance |  | 6 Monthly
11 | General Door Maintenance |  | Monthly
12 | Folding Wall System Maintenance |  | 6 Monthly
13 | DT Machinery Maintenance (Woodworking and metal working equipment) |  | Annually
14 | Audience Seating Maintenance |  | Annually
15 | Lighting Gantry Maintenance |  | Annually
16 | Stage Lighting Maintenance |  | Annually
17 | Stage AV Equipment Maintenance (Control mixers, speakers, amplifiers, microphone, projector) |  | Annually
18 | PE Equipment Service Inspection |  | Annually
19 | Gutter Cleaning |  | Annually
20 | Play Equipment Service Inspection |  | Operational Quarterly and Outdoor Annually
21 | Glazing Survey/Inspection including glass/metal fins and fixings |  | As Required following installation and manufacturer service inspection regime
22 | COSHH Risk Assessments |  | Annually
23 | Roof Inspections |  | Annually
24 | Ladder inspections |  | 6 monthly
25 | School Radioactive Sources Monitoring Checklist |  | Annually (Science complete checklist)
26 | Tree Survey and Risk Assessment |  | Depending on risk findings from survey 1 year for higher risk zones 3 to 5 for medium/low
Guidance Version Control
[6 empty] | Name Of Document | Version | Last Review date
[6 empty] | Statutory Inspections and Building Maintenance Programme | NASPM V4 | 2024-09-01