Updated Guidance on RIDDOR. What is RIDDOR?. RIDDOR stands for the Reporting of Injuries, Diseases and Dangerous Occurrences Regulations. It is a UK health and safety legislation that applies to all ‘responsible persons’ and requires them to correctly report and keep a record of certain injuries and incidents that happen at work. RIDDOR is a legal requirement set by the HSE to guide action in the case of a school accident, and it applies to every workplace across the UK. RIDDOR requires the following to be reported: - Workplace deaths - Injuries that result in an employee being off work (or unable to complete their normal work duties) for seven consecutive days. - Incidents involving members of the public/Pupils being injured and taken to hospital. However, if a member of the public (including a Pupil) goes to the hospital only as a precaution and has no reported injuries, it does not need to be logged under RIDDOR. RIDDOR also covers certain workplace incidents. This includes specific injuries, occupational diseases, dangerous occurrences, and gas incidents. How do you normally report RIDDOR incidents? The employer of the school would set the criteria for reporting RIDDOR incidents, if this is the Local Authority it would normally be the Corporate Health and Safety Team, if this is a Trust/Academy or non-LA school it would normally be a defined person such as a health and safety manager or Lead Senior Competent person. Many MATs and Schools may have an external health and safety consultancy that would also investigate and advise on significant accidents to review and follow up as RIDDOR compliance. There are no changes to legal requirements, but the guidance will help you understand how and when you should submit a report under RIDDOR. The regulations themselves and their legal requirements have not been affected, but following stakeholder feedback, several improvements have occurred. The HSE information highlights these areas, including: - More direct links to guidance on types of reportable incidents - Improved guidance on who should and should not report under RIDDOR - Improved guidance on what is meant by a ‘work-related’ accident - Information on when an occupational disease is not reportable; and - Increased clarity on when an ‘over-7-day’ absence should be reported Further changes to the reporting process itself have seen the frontloading of questions on the HSE reporting tool now have additional questions about the severity of injuries and pop-up messages redirecting users if the incident is not reportable. The primary aim of the changes is to help those looking to report decide more quickly and easily if indeed a RIDDOR report is needed and, if so, that the forms are easier to use. Over 60,000 non-fatal work-related injuries to employees were reported by employers under RIDDOR in 2022/23. What we don’t know is how many were erroneously reported, and more importantly how many that should have been reported but were not. Hopefully, these changes will bring greater clarity to the process. Here is a link to the HSE information on RIDDOR: Go to the updated guidance on RIDDOR. Your Action. If you are not responsible for reporting RIDDOR incidents then this is only information updates, with no further direct action If you are responsible for reporting RIDDOR incidents you should review the updated information above and follow the link. The Alliance will be holding RIDDOR reporting training events.. Monthly Round-Up. Playground Incidents Primary School Outdoor Gym Equipment. I have noticed an increase in accidents related to the Primary Outdoor Gym equipment. Most of these incidents have been due to either misuse or a general lack of awareness of the impact injuries these units can cause. Injuries have included all impact injuries, breaks/fractures/teeth being knocked out/face impact injuries. The recent accident involved a Double Cross Country Skier which resulted in teeth being knocked out and a trip to the emergency dentist. The school had a risk assessment, supervision was in place, risk controls noted and in place, an annual inspection, no fault from equipment, but the user vigorously and letting go of the handles. The introduction of the Outdoor Gym Equipment has a common theme of being located within an area of the playground that has some fencing around the area to define the area. The key control measure is supervision and the risk assessments that look suitable and sufficient include restricted numbers of use, constant monitoring with supervisory staff located in this area and some inductions of the safe use and rules introduced regarding behaviour. The Gym Equipment service/inspection is normally annually unless otherwise specified within the manufacturer guidelines, and a visual check/inspection should be recorded locally, this may be the premises staff or a mixture of pre-user checks. Remember these local visual inspections are mainly looking at any new concerns and damage and not a full structural inspection.. Defibrillators Maintenance and Location of the Unit. A common themed question from Alliance Members includes a high number related to the servicing requirements of defibrillators. You are aware of the NASPM weekly defib compliance monitoring forms within the document centre that include weekly checks, records of pads and battery expiry. The manual will detail if any specific additional checks are required – see below from DfE guidance ‘Many defibrillators may require schools to perform some additional monthly and/or annual checks to ensure that they are functioning correctly. Schools should consult the user manual for details and ensure that they have appropriate arrangements in place. Failure to perform these checks could potentially mean that the defibrillator fails to function properly when needed.’ Also the question of where they should be located. All proposed defibrillator locations should be subject to a risk assessment taking into account: - Availability for timely deployment (including the likely time required to climb stairs, open doors, unlock a cabinet etc) - Health and safety risks (e.g., slip, trip and fall hazards) - Safety and security (e.g., is the area well-lit? Does the location render the defibrillator susceptible to tampering or vandalism and, if so, what measures would be proportionate to counter that risk?). Defibrillators guidance. Member School Visit Shout to Gary Taylor. I visited Marner School in April and met with Gary Taylor a very experienced and long-standing Premises Manager. It was so good to see Gary using the NASPM check sheets which included: - Daily inspection - Weekly inspections - Fire door inspections - Governor and Premises Safety Tour - Sprinkler Inspections - Permit to work - Statutory Compliance Form – populated and actively used to manage and monitor statutory compliance - Premises Risk Assessment. It was also fantastic to see the school displaying their NASPM membership certificate in the school entrance area and Gary displaying many NASPM training certificates in his room.. We completed a safety tour and noted the following significant topics that Gary and the school management team have been working on as part of the school’s strategic estates and health and safety improvement plan. - Following a competent FRA over the last few years a programme of fire doors, including new corridor compartments has been installed as a rolling programme. - Significant fire stopping within the boiler room has been completed. This was identified following a competent FRA that many holes and pipes were running through the ceiling up into the main building. A certificated fire-stopping company completed the works and the school has a fully enclosed boiler room - The fire alarm activated whilst we were in mid-flow of the safety tour, although the school were looking at me to see if it was me and part of my visit it was great to see how well the school evacuated hundreds of pupils within minutes and how well the premises manager and SLT investigated to identify the causation was from a manual call point being pressed. The fire brigade was on site within 7 minutes and a handover was completed to assure them of a false alarm, but importantly the whole school remained outside until given the all-clear to go back into the school Gary stated that the NASPM training has been really good especially the broad range of training subjects with some input for improvements including having additional information sent out either before or after the training, even if this is not the slides but something additional for the learners. This was noted and agreed upon, previous feedback from members having similar requests. We are working on this as part of the NASPM training review.. Good Estates Governance. Do you have full assurance of compliance? What does compliance mean? What does full assurance mean? These are the questions that could be asked during a fatal incident investigation or a significant incident relating to the school estate and building management condition failure. Or during a good health and safety audit process. It is also the information that should be provided to the management team regularly. One of the first questions I ask when auditing or investigating is ‘Are you fully compliant?’ I normally sit back and wait as there is normally a period of silence, or an excited response throwing all sorts of information. I then ask for an overview of assurance evidence. This is then normally followed by the same silent interesting look back at me. Well, I am asking you the same questions today ‘Are you fully compliant?’ and Show me ‘an overview of assurance evidence’ When you ponder on the question, do I have full assurance of compliance, think about what you actually base your compliance model on.. What Does Good Governance of Estates/Compliance Look Like?. I have mapped out this for ease of reference and will address some of the key headings that are frequent non-conformities from auditing/investigations. I will refer back to this over the coming months as feel the importance and awareness of governance is vital for you to reflect on and test your school set-up.. Managed Risk Escalation. How well do you escalate risks? My examples include findings from legionella management, examples of poor ‘at risk’ temperature readings, large numbers of actions required from water risk assessment, water risk assessment out of date and missing sample evidence, with none of these findings being escalated to anyone – the risk being held with the premises manager. Often this may depend on the school management system, I have worked at schools that included having a monthly update to the SLT and presenting compliance to the board or governing body but have also worked in environments where there has been little interest and often having to take the lead to present information, regardless of what action is completed as a follow-up.. External Professional Guidance, Assurance, Auditing, Testing & Direction. Do you have an external professional monitoring? I often follow up from a previous school audit or seek evidence when completing investigations and there is always a significant difference in the quality and depth of external health safety estates consultancies. I always advise that any agreement is detailed that describes what is being audited and assurance of school-specific knowledge and competence is crucial. I think the main point here is that schools need to be aware of what the external professional support offers and to review any limitations. The key point is ’performance monitoring’ if there are concerns with their performance. Also, consider the culture of how well the school accept and work with external professionals and this is also a hindrance when internal management does not accept or disagree with the external professional advice. You should review, test and challenge any unreasonable time scales from your external professional health safety estates consultancy, as you will now hold the responsibility to follow up and manage recommendations.. Competent People. I am always looking at ways to improve my knowledge and skills, and a common question we have from Headteachers is around the standard Job Descriptions and what qualifications should be listed within premises staff? The answer is always skills experience and a level of qualifications. Although the ‘competent people’ role is about you it is also about your team, your manager, the management team, SLT, health and safety consultancy and contractors. I always encourage schools to include other staff to have a level of premises management training, especially in key duty holder roles such as fire, legionella and asbestos. The response that my premises manager is trained in this area doesn’t cover the requirements of some health safety building management requirements.. Assurance of Compliance. I have mapped out the ‘assurance of compliance’ with headings for you to use and test against. The first box - ‘What are the key material breaches from poor compliance management’? Remember a material breach is basically not following legislation, so breaking the law. Some examples of material breaches include out-of-date EICRs, lack of Gas service, no water legionella risk assessment and lack of asbestos survey. It is very simple to have non-compliance with building management if this is not being managed and monitored. Common audit findings include schools not being aware of out-of-date statutory compliance and sometimes this is aligned to contractors letting the school down.. Top Tips for Sustainability. We have added sustainability to the Alliance Newsletter to raise the profile and knowledge of our members.. Part 1 Summary of top tips to reduce energy use in schools from the DfE. - If you only do one thing, educate the staff and children to turn off energy-using appliances when not in use - Use your building systems properly to save energy - Share information with pupils and school staff - Upgrade heating controls - Use energy-efficient lighting - Install smart metering - Manage ICT loads - Draught strip windows and doors - Renewable energy development programmes - Understand the school energy bills and how much energy is being used. Offences. Please see below for a selection of the latest news and prosecution notices, fortunately, none of these are school-related. Still very concerning to note the fatal incidents and significant life-changing injuries that in every case could have been prevented. Tobacco firm fined £32,000 following machinery failures 28 March 2024 - The fine was issued for a failure to put safety measures in place to prevent access to rotating blades. Horticulture company fined after lorry driver seriously injured 28 March 2024 -The fine has been issued after a lorry driver struck overhead power lines, causing the driver to suffer third-degree burns on his body. Director jailed for failing to protect workers from asbestos exposure 27 March 2024 - The director has been jailed for 8 months and the company fined £30,000 after failing to protect workers from asbestos exposure Company fined £175,000after worker fatally crushed 27 March 2024 - The fine was issued after a demolition grab attached to an excavator fell on a worker whilst being loaded onto a lorry. Bakery company fined £400,000 after employee has leg amputated 25 March 2024 - A worker was struck by a cherry picker during a night shift, crushing their left leg which was later amputated. Company fined after engineer crushed in fatal incident 22 March 2024 - The fine was issued after the worker was struck and run over by an excavator during ground clearance works. Health board fined £220,000 following death of patients 21 March 2024 - The fine was issued after 2 patients fatally fell from windows that did not meet safety requirements.. Schools and Academies Show ExCel London Wednesday 1st May. NASPM are delighted to offer you a complimentary pass to join us at the Schools & Academies Show, taking place at the ExCeL, London on the 1st May 2024. The Schools & Academies Show stands as the education community’s largest one-stop shop, offering everything you need to strengthen your strategic business and school improvement plans for a lasting impact. New for 2024, the show will be co-located with three new events, providing new opportunities to access high-quality content, hear from leading education experts, make connections and save time and money sourcing solutions for your school, academy or MAT. Register your free ticket to join us and gain key insights in driving efficiencies, making savings and enhancing your school performance to improve pupils outcomes. Find out more and register your ticket here: 2024 SAASL (schoolsandacademiesshow.co.uk) Don’t forget to come and say hi at our stand A44. We look forward to seeing you there!. FREE Webinar Fire Enforcement Preparedness Thursday 16th May 10am - 11am. Following requests from members we are running this exciting fire safety enforcement preparedness again. A review of the fire enforcement code and the responsible person duties of the RRFSO. What the RRFSO articles are and how these are reviewed before/during and after a fire and rescue school audit, with case studies of enforcements and what ‘good looks like’ which includes an overview of fire risk assessment and stage 2 action plans. Please contact admin@naspm.co.uk to book your place As this is free why not offer this to other school staff that have fire responsibilities?. Health & Safety Training with NASPM. We offer live virtual trainings for all areas of the school’s health and safety every month. Training courses are certificated and provide the employer with CPD evidence of competence. Training sessions include, - Lockdown Awareness - PUWER - Fire Warden - Legionella Awareness - Asbestos Awareness - Managing Contractors - Electrical Management - Fire Door Management - COSHH - Working at Height Risk Assessment - Manual Handling Risk Assessment - Risk Register for Premises - Premises Auditing - Premises Building Projects - Playground Premises Management - Senior Team Leaders Health and Safety - EYFS Risk Management - DSE Assessor You can access all training via the NASPM website at www.naspm.co.uk/my-account/ Enter username and password From the dashboard select BOOK TRAINING Click on the name of the course Add desired number of people Click on get tickets Click on Proceed to Checkout Complete billing details and payment method Please book as soon as possible to guarantee your place. Regrettably, although we’ve managed to avoid any increase to our annual membership fees, rising costs have forced us to review our training tariff. We have minimised any increase to you by opening our virtual training to non-members - now made available to them at a premium rate. From the 1st May training will be £55 per person per course. We are sure that you’ll agree, at only £55 per course, our members continue to enjoy exceptional value for money.. Your input into NASPM. Do you have any requests regarding documents, templates, or an area of concern that you would like us to include in the document centre or website? Do you want a tailored health and safety training programme? Or do you want to leave feedback? Email admin@naspm.co.uk. Copyright (C) 2023 NASPM. All rights reserved. Our mailing address is: NASPM The Old Town Hall 29 Broadway London, London E15 4BQ United Kingdom.........