# School Safety

# Inspection

# Checklist

# Document 125

| Area/Room;- |  |  |  |
| --- | --- | --- | --- |
| School Safety Inspection Checklist |  | Yes | Further Action Needed |
| Movement around the classroom (Slips and trips) | Is the internal flooring in a good condition? |  |  |
|  | Are gangways between desks kept clear? |  |  |
|  | Is the lighting bright enough to allow safe access and exit? |  |  |
|  | Is the classroom/office door in good operation and with no trip hazard on opening? |  |  |
|  | Are access steps or ramps is good condition? |  |  |
|  | Are access stairs or ramps provided with handrails in good condition? |  |  |
| Window Opening | Are restrictors in good operation? |  |  |
|  | Are all window opening mechanisms in working order? |  |  |
| Workplace | Is the room temperature suitable? |  |  |
|  | Are radiators and fixings in good condition? |  |  |
|  | Are plumbing fixtures and fittings in good operation? |  |  |
|  | Are pupil tables and chairs in good condition? |  |  |
|  | Are teacher desk/table and chairs in good condition? |  |  |
|  | Are blinds in good condition? |  |  |
|  | Clock in operation? |  |  |

| Area/Room;- |  |  |  |
| --- | --- | --- | --- |
| School Safety and Maintenance Checklist |  | Yes | Further Action Needed |
| Furniture and Fixtures | Are permanent fixtures in good condition and securely fastened, e.g. cupboards, display boards and shelving? |  |  |
| Glazing | Is the view panel in the classroom/office door in good repair? |  |  |
|  | Is the external glazing in good repair? |  |  |
| Electrical Equipment and Services | Are all plugs and cables in good repair? |  |  |
|  | Are fixed electrical switches and plug sockets in good repair? |  |  |
|  | Are light fittings safe, in good repair and lamps working? |  |  |
|  | Are light switches in good repair? |  |  |
| Ceiling | Are ceiling tiles or similar, secure and with no wires exposed? |  |  |
| Fire | There are fire exit doors in the classroom/office, are they; - Unobstructed; - Kept unblocked; and - Easy to open form the inside? |  |  |
|  | Is the fire-fighting equipment in place in the classroom? |  |  |
|  | Are fire evacuation procedures clearly displayed? |  |  |

| Guidance Version Control |  |  |
| --- | --- | --- |
| Name of Document | Version | Last Review date |
| School Safety Inspection Checklist | NASPM V1 | April 2025 |

Copyright © 2024 NASPM

All rights reserved.

No part of any NASPM document may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods, to any individual, school, or organisation outside of the school named in the school membership agreement.

Should membership terminate, no part of any NASPM document may be used, reproduced, distributed or transmitted by any individual, school, or organisation.