## Title Page
Statutory Inspections and Building Maintenance Programme
Document 25

## Statutory Inspection&Building M
Statutory Inspections and Building Maintenance Programme
Statutory Items are in Bold
PART 1- Electrical Management
Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed
1 | Electrical Installation Condition Report (EICR) |  | Maximum 5 Yearly (Frequency may be less and should comply with guidance note 3 of BS7671)
2 | Portable Appliance Testing Records |  | Annually
3 | Lightning Protection System |  | Annually
4 | RCD Testing |  | 6 Monthly
5 | UPS (Uninterruptible Power Supply) Maintenance |  | 6 Monthly
6 | Disabled WC Call Alarms |  | Monthly
7 | Automated Gates and Barriers |  | 6 Monthly
8 | Intruder Alarm Maintenance |  | 6 Monthly
9 | CCTV Maintenance Records |  | 6 Monthly
10 | Access Control Maintenance |  | 6 Monthly
11 | P.A. System Maintenance |  | 6 Monthly
12 | Hearing Loop Induction Records |  | 6 Monthly
13 | Microwave Emission Test |  | Annually
PART 2 - Fire And Life Management
Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed
1 | Fire Risk Assessment |  | Reviewed Annually
2 | Fire Alarm Weekly Test Records (Call points) |  | Weekly
3 | Fire Detection & Alarm Service |  | 6 Monthly
4 | Fire Suppression Maintenance (Kitchen Systems) |  | Annually
5 | Portable Fire Extinguisher service |  | Annually
6 | Wet/Dry Riser Test Records |  | Annually
7 | Fire Hydrant Test Records |  | Annually
8 | Fire Curtains |  | 6 Monthly
9 | Fire Suppression System Ansul |  | 6 Monthly
10 | Fire Shutters |  | 6 Monthly
11 | Spring Loader Fire Dampers |  | Annually
12 | Mechanical Fire Dampers |  | 2 Yearly
13 | Sprinkler System Weekly Test |  | Weekly
14 | Sprinkler System Maintenance |  | 6 Monthly
15 | Emergency Lights Flick Test |  | Monthly
16 | Central Battery System Records |  | Annually
17 | Emergency Lights Annual Test |  | Annually
18 | Lift Phone Checks |  | Monthly
19 | Fire Door Inspections (Push bar) |  | Monthly
20 | Fire Evacuation Procedure |  | Reviewed Annually
21 | Fire Alarm False Activation Records |  | As occurs
22 | Fire Alarm Planned Evacuation Records |  | Annually
24 | Fire Signage Checks |  | Monthly
25 | Means of Escape Inspections |  | Weekly
26 | Fire Evacuation Chair |  | Annually
PART 3 - Mechanical Management
Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed
1 | Carcass Test/Gas Pipework Soundness |  | Annually
2 | LPG Pipework & Tank - Test & Inspection |  | Annually
3 | Gas Water Heater Test/Boilers/Service Records |  | Annually/Periodic service sheets
4 | Pressure Systems - Insurance Inspection |  | Annually
5 | Gas Proving System (Used anywhere gas pressure needs to be monitored, mostly in science labs, food tech catering) |  | Annually
6 | Gas Catering Equipment Tests/Maintenance |  | Annually/Periodic service sheets
7 | LEV Insurance Inspections |  | Annually
8 | LEV Maintenance Records |  | Annually
9 | Fume Cupboard Maintenance |  | Annually
10 | Fume Cupboard Insurance Inspections |  | Annually
11 | Lifting Equipment Examinations |  | Monthly
12 | Oil/ Diesel Tank Inspections |  | 6 Monthly
13 | Passenger Lifts Maintenance |  | 6 Monthly (min)
14 | Passenger Lift Insurance Inspection |  | 6 Monthly
15 | Hoist Insurance Inspections |  | 6 Monthly
16 | Hoists Maintenance |  | 6 Monthly
17 | Mansafe/Latchway Maintenance |  | Annually
18 | Eyebolt Test Records |  | Annually
19 | Mansafe/Latchway Insurance Inspection |  | Annually
20 | Lifting Beams Inspections |  | 5 Yearly
21 | A/C Systems F - Gas Documents (Safe Handling & records of work) |  | As required
22 | A/C Systems F - Gas Documents - Leak test for applications containing more than 3kg |  | Annually
23 | A/C Systems F - Gas Documents - Leak test for applications containing more than 30kg |  | 6 Monthly
24 | A/C Systems F - Gas Documents - Leak test for applications containing more than 300kg |  | 3 Monthly
25 | Radon Survey (Radon Gas Levels Assessment) |  | As required
26 | Fixed Access Ladder Inspections |  | 6 Monthly
27 | Generator Service Records |  | 6 Monthly
28 | Petrol Interceptor Maintenance |  | Annually
PART 4 - Water Monitoring and Maintenance
Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed
1 | Water Risk Assessment |  | 2 years review
2 | Monitoring as Instructed Per Risk Assessment |  | As per WRA
3 | Flushing of Infrequently Used Outlets |  | Weekly
4 | Readings of cold water temperature at sentinel outlets. These outlets should be below 20 °C (Nearest and furthest outlets from the storage tanks and water heaters). |  | Monthly
5 | Readings of hot water temperature at sentinel outlets. These outlets should be above 50 °C (nearest and furthest outlets from the storage tanks and water heaters). |  | Monthly
6 | Hot Water Storage Cylinders Check (Calorifiers) |  | Annually/As per WRA
7 | Shower Head/Hoses Cleaned & Descaled |  | Quarterly
8 | Thermostatic Mixing Valve Maintenance (TMV) |  | Annually/As per WRA
9 | Tank Chlorination |  | Annually/As per WRA
10 | Swimming Pools/Hydrotherapy Water Regime |  | Daily/Weekly
11 | Drinking Fountain |  | 3 Monthly or as defined via r/a
12 | Microbiology/Water Quality Sampling/as per r/a |  | 6 Monthly or as defined via r/a
PART 5 - Building Fabric, School Area and Equipment
Ref | Description | Contractor | Legislative Recommended Frequency | Date Completed | Next Due | Remedial Action Required | Remedials Completed
1 | Gym Equipment Inspection |  | Annually
2 | Kitchen Deep Clean Records including TR19 |  | Annually
3 | Mobile Lighting Gantry Inspect |  | Annually
4 | Asbestos Survey (Re-inspection) |  | Annually
5 | Asbestos Management plan/Inspections |  | 6 monthly depending on AMP
6 | DEC Display Energy Certificate |  | Annually
7 | Kitchen Grease Trap Records |  | 6 Monthly
8 | Kitchen Extract Canopy Maintenance |  | Annually
9 | Ductwork Cleaning Records |  | Annually
10 | Automatic Door Maintenance |  | 6 Monthly
11 | General Door Maintenance |  | Monthly
12 | Folding Wall System Maintenance |  | 6 Monthly
13 | DT Machinery Maintenance (Woodworking and metal working equipment) |  | Annually
14 | Audience Seating Maintenance |  | Annually
15 | Lighting Gantry Maintenance |  | Annually
16 | Stage Lighting Maintenance |  | Annually
17 | Stage AV Equipment Maintenance (Control mixers, speakers, amplifiers, microphone, projector) |  | Annually
18 | PE Equipment Service Inspection |  | Annually
19 | Gutter Cleaning |  | Annually
20 | Play Equipment Service Inspection |  | Operational Quarterly and Outdoor Annually
21 | Glazing Survey/Inspection including glass/metal fins and fixings |  | As Required following installation and manufacturer service inspection regime
22 | COSHH Risk Assessments |  | Annually
23 | Roof Inspections |  | Annually
24 | Ladder inspections |  | 6 monthly
25 | School Radioactive Sources Monitoring Checklist |  | Annually (Science complete checklist)
26 | Tree Survey and Risk Assessment |  | Depending on risk findings from survey 1 year for higher risk zones 3 to 5 for medium/low
Guidance Version Control
[6 empty] | Name Of Document | Version | Last Review date
[6 empty] | Statutory Inspections and Building Maintenance Programme | NASPM V4 | 2024-09-01
Copyright © 2024 NASPM All rights reserved. No part of any NASPM document may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods, to any individual, school, or organisation outside of the school named in the school membership agreement. Should membership terminate, no part of any NASPM document may be used, reproduced, distributed or transmitted by any individual, school, or organisation.