# Health

# And

# Safety

# Legal Register

# Document 58

Schools Health & Safety Legal Register List

| S/N | Acts/Regulation/Guidance | Section |
| --- | --- | --- |
|  | Health And Safety (First-Aid) Regulations 1981, As Amended | Accidents and Emergencies |
|  | Reporting Of Injuries, Diseases And Dangerous Occurrences Regulations 2013 (RIDDOR) |  |
|  | Construction (Design And Management) Regulations 2015 | Construction, Design and Management |
|  | Electricity At Work Regulations 1989, As Amended | Electrical Safety |
|  | Regulatory Reform (Fire Safety) Order 2005, As Amended | Fire Protection and Buildings |
|  | Gas Safety (Installation And Use) Regulations 1998, As Amended | Gas Safety |
|  | Control Of Substances Hazardous To Health Regulations 2002, As Amended | Hazardous Substances/Chemicals |
|  | Lifting Operations And Lifting Equipment Regulations 1998 (LOLER), As Amended | Lifting |
|  | Health And Safety At Work Etc. Act 1974, As Amended | Management of Health and Safety |
|  | Occupiers Liability Act 1957 / 1984 |  |
|  | Health Act 2006, As Amended |  |
|  | Corporate Manslaughter And Corporate Homicide Act 2007 |  |
|  | Health And Safety (Offences) Act 2008 |  |
|  | Management Of Health And Safety At Work Regulations 1999, As Amended |  |
|  | Employers' Liability (Compulsory Insurance) Regulations 1998, As Amended |  |

| S/N | Acts/Regulation/Guidance |  | Section |
| --- | --- | --- | --- |
|  | Health And Safety (Consultation With Employees) Regulations 1996, As Amended |  | Management of Health and Safety |
|  | Safety Representatives And Safety Committees Regulations 1977, As Amended |  |  |
|  | Health And Safety Information For Employees Regulations 1989, As Amended |  |  |
|  | Health And Safety (Safety Signs And Signals) Regulations 1996, As Amended |  |  |
|  | Control Of Asbestos Regulations 2012 |  | Occupational Health |
|  | Control Of Noise At Work Regulations 2005, As Amended |  |  |
|  | Control Of Vibration At Work Regulations 2005, As Amended |  |  |
|  |  | Legionnaires Disease: The Control Of Legionella Bacteria In Water Systems, ACoP 2013 | Others |
|  |  | Coronavirus Act 2020 |  |
|  |  | Coronavirus: Restrictions On Movement, Gatherings And Business Premises |  |
|  |  | Personal Protective Equipment At Work Regulations 1992, As Amended | Personal Protective Equipment |
|  |  | Provision and Use of Work Equipment Regulations 1998 (PUWER) | Plant and Machinery |
|  |  | Supply Of Machinery (Safety) Regulations 2008, As Amended |  |
|  |  | Motor Vehicles (Driving Licences) Regulations 1999, As Amended | Transport |
|  |  | Confined Spaces Regulations 1997 | Safe Systems of Work |
|  |  | Manual Handling Operations Regulations 1992, As Amended |  |

| S/N | Acts/Regulation/Guidance | Section |
| --- | --- | --- |
|  | Health And Safety (Display Screen Equipment) Regulations 1992, As Amended | Safe Systems of Work |
|  | Work At Height Regulations 2005, As Amended |  |
|  | Workplace (Health, Safety And Welfare) Regulations 1992, As Amended | Workplace Conditions And Housekeeping |

(Continued)

Schools Health & Safety Legal Register

| Accidents and Emergencies |  |  |  |
| --- | --- | --- | --- |
| S/N | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Health And Safety (First-Aid) Regulations 1981, As Amended | This regulation places duties on an employer to provide equipment and facilities trained first aiders appropriate for managing ill health at work. | - Carry out a first aid needs assessment to understand how many first aiders the school requires. The HSE ACoP recommends one first-aider for every 50 employees during normal working hours - If first aid rooms are provided they must be easily accessible - Inform employees of arrangements for first aid - Training to be provided for first-aiders - Ensure first aid boxes are properly equipped and monitored to ensure stock is replenished |

(Continued)

| Accidents and Emergencies |  |  |  |
| --- | --- | --- | --- |
| S/N | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Reporting Of Injuries, Diseases And Dangerous Occurrences Regulations 2013 (RIDDOR) | This regulation requires the Health and Safety Executive to be informed and have records kept for 3years of certain specified injuries, diseases and dangerous occurrences which arise out of or in connection with work including - Death of a person - Employee suffers a major injury at work, listed in Schedule 1 - Member of the public is taken directly to the hospital and requires treatment. - One of the specified lists of dangerous occurrences - Employee suffers one of several specified diseases. The HSE shall be sent a report within 15 days where a person is unable for work to more than 7 consecutive days, excluding the day of the accident, but including days which would not have been working days | - Have an accident reporting procedure and investigation in place - Inform staff of your accident reporting procedure - Delegate a responsible person to ensure accident forms are completed and reported to the HSE when necessary |

(Continued)

| Construction, Design and Management |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Construction (Design And Management) Regulations 2015 | These regulations establish requirements for health and safety management and provisions for construction projects. Notifiable projects must be notified to the HSE (or Office of Rail Regulation (ORR) as appropriate) using the F10 form. These are Those lasting more than 30 working days where more than 20 workers are working simultaneously; or Where the project exceeds 500 person days. | - Appoint a competent person to manage construction projects on school sites |

(Continued)

| Electrical Safety |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Electricity At Work Regulations 1989, As Amended | The Electricity at Work Regulations imposes requirements on the control of work alongside and with electrical systems and the design and installation of these systems. They place duties on employers, employees and the self-employed to take precautions against the risk of death or personal injury from electricity in work activities. | - Ensure new electrical systems are installed to a suitable standard - Carry out 3/5 years of fixed wire testing to ensure existing electrical systems are maintained. - Carry out preventative maintenance (Pre-use checks by users, Visual inspection by premises team, Portable appliance testing PAT) - Use of contractors - Although it is not a legal requirement, maintaining a record and labelling system can be a useful way to monitor and review the effectiveness of the maintenance scheme |

(Continued)

| Fire Protection and Buildings |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Regulatory Reform (Fire Safety) Order 2005, As Amended | The Regulatory Reform (Fire Safety) Order 2005 covers general fire safety in England and Wales. This requires the Responsible Person to carry out a risk assessment to demonstrate that the fire safety precautions are adequate | - Carry out a Fire Risk Assessment - Complete actions - Review Fire Risk Assessment annually - Complete a minimum of 6 monthly fire alarm testing - Complete an annual emergency lighting testing - Complete a flick test of emergency lighting at least once a month - Service firefighting equipment annually - Ensure routes to emergency exits are kept clear at all times - Ensure good housekeeping - Staff training |

(Continued)

| Gas Safety |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Gas Safety (Installation And Use) Regulations 1998, As Amended | These Regulations place duties on every employer to ensure that any gas appliance, installation pipework or flue installed at any place of work under his control is maintained in a safe condition to prevent the risk of injury to any person. | - Ensure gas engineers/contractors who work on the gas fittings in the school are registered with a class of persons approved by HSE(Gas Safe) - Carry out annual safety checks on gas appliances and flues - This includes the gas tightness (soundness, or pressure decay test) of the installation, inspection of appliances, flues and installation pipework. - Records of annual gas safety checks must be kept - Staff should know where the emergency control (stop button) is and actions to take in case of an emergency-Where this control is not adjacent to a meter, a notice must be posted adjacent to the control describing the procedure in the event of a gas escape. |

(Continued)

| Hazardous Substances/Chemicals |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Control Of Substances Hazardous To Health Regulations 2002, As Amended | These regulations require employers to control substances that can harm workers' health. Reg. 6-13 focuses on Reg. 6 - Assessment of the health risks created by work involving substances hazardous to health Reg. 7 - Prevention or control of exposure to substances hazardous to health by either substitution or other control measures Reg. 8 - Effective use of control measures Reg. 9 - Maintenance, examination and testing of control measures Reg. 10 - Monitoring exposure at the workplace Reg. 11 - Health Surveillance Reg. 12 - Information, instruction and training for persons who may be exposed to substances hazardous to health Reg. 13 - Arrangements to deal with accidents, incidents and emergencies | - Complete a COSHH Risk Assessment - Implement findings from the COSHH risk assessment - Local exhaust ventilation plants should be examined and tested at least once every 14 months - COSHH Training for the premises, cleaning staff - Monitoring and health surveillance where the risk assessment indicates - Ensure there is adequate first aid provision - Ensure there are accident reporting procedures in place |

| Lifting |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Lifting Operations And Lifting Equipment Regulations 1998(LOLER), As Amended | The regulations apply to employers, self-employed and others depending on their control of lifting equipment, persons who use lifting equipment, and how the lifting equipment is used. These regulations require that lifting equipment provided for use at work is: strong and stable enough for its use; marked to indicate the safe working load; positioned and installed to minimise any risk; used safely, i.e. the work is planned, organised and performed by competent people; subject to ongoing thorough examination and, where appropriate, inspection by competent people Examples, Lifts and hoists | - Carry out a thorough examination of all lifting equipment and accessories - 6 months, for lifting equipment and any associated accessories used to lift people - 6 months, for all lifting accessories - 12 months, for all other lifting equipment - Carry out more frequent inspections of work equipment based on the type of work equipment, its use and conditions to which it is exposed (An inspection could be a pre-use check or weekly checks) - Keep records of the thorough examinations and inspections - Have a risk assessment in place for the use of equipment such as hoists to lift pupils - Provide staff training for those who would be required to use lifting equipment. |

(Continued)

| Management of Health and Safety |  |  |  |
| --- | --- | --- | --- |
|  | Act | Summary of Act | How to Demonstrate Compliance |
|  | Health And Safety At Work Etc. Act 1974, As Amended | The Health and Safety at Work etc. Act 1974 is the primary piece of legislation covering occupational health and safety in Great Britain. It's sometimes referred to as HSWA, the HSW Act, the 1974 Act or HASAWA. There are 37 sections, the main sections to note are: Section 2 - General Duties of employers to employees. Section 3 - General Duties of employers to persons other than employees Section 7 - General duties of Employees at work Section 8 - Duty Not to interfere with or misuse things Section 9 - Duty Not to charge / levy employees Section 37 - Offences by bodies corporate | - Have a written health and safety statement and policy - Review as necessary - Induction for employees and contractors - Health and Safety Audits and Inspections |
|  | Occupiers Liability Act 1957 / 1984 | The Act requires occupiers to show a common duty of care to trespassers, if they are aware of a danger, the trespasser could come into contact with it, and the occupier would otherwise protect against it. | - Take reasonable steps to give warnings of danger or discourage persons from incurring the risk on the premises |

| Management of Health and Safety |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Health Act 2006, As Amended | Part 1 of Chapter 1 of the Health Act 2006 makes provision for the prohibition of smoking in certain premises, places and vehicles. School premises are smoke-free It is the duty of the person who occupies or is concerned with the management of smoke-free facilities to ensure that no smoking signs conform to the requirements of the legislation and that they are displayed in accordance with the requirements | - Ensure staff, visitors and contractors are aware of the no-smoking policy on school premises |
|  | Corporate Manslaughter And Corporate Homicide Act 2007 | The Corporate Manslaughter and Corporate Homicide Act 2007 is a landmark in law. For the first time, companies and organisations can be found guilty of corporate manslaughter as a result of serious management failures resulting in a gross breach of a duty of care | - In conjunction with the Institute of Directors, HSE has published guidance for directors on their responsibilities for health and safety - 'Leading health and safety at work: leadership actions for directors and board members (INDG417) - Health and Safety Training for senior management |

(Continued)

| Management of Health and Safety |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Health And Safety (Offences) Act 2008 | This Act makes employers personally accountable for the safety of their employees and could see them jailed if an employee is hurt at work | - In conjunction with the Institute of Directors, HSE has published guidance for directors on their responsibilities for health and safety - 'Leading health and safety at work: leadership actions for directors and board members (INDG417) - Health and Safety Training for senior management |
|  | Management Of Health And Safety At Work Regulations 1999, As Amended | These regulations support the Health and Safety at Work Act 1974 Reg.3 - Risk assessment Reg.4 - Principles of prevention to be applied Reg.5 - Health and safety arrangements Reg.6 - Health Surveillance Reg.7 - Health and safety assistance Reg.8 - Procedures for serious and imminent danger and danger areas Reg.9 - Contacts with external services Reg.10 - Information for employees Reg.11 - Co-operation and co-ordination Reg.12 - Persons working in host employers’ or self-employed persons’ undertakings | - Identify and Assess risks at work-Risk Assessments - Include an arrangements section in your health and safety policy - Provide employees with health surveillance as required - Appoint a competent person to manage health and safety in the school - Have a business continuity and emergency planning document with established procedures for use in the event of an emergency - Provide information and training for staff - Consult your workers on the arrangements for managing health and safety |

| Management of Health and Safety |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
| 14. | Management Of Health And Safety At Work Regulations 1999, As Amended (Continued) | Reg.13 - Capabilities and training Reg.14 - Employees’ duties Reg.15 - Temporary workers Reg.16 - Risk assessment in respect of new or expectant mothers Reg.16A - Alteration of working conditions in respect of new or expectant mothers (agency workers) Reg.17 - Certificate from a registered medical practitioner in respect of new or expectant mothers Reg.17A - Certificate from a registered medical practitioner in respect of new or expectant mothers (agency workers) Reg.18 - Notification by new or expectant mothers Reg.18A - Notification by new or expectant mothers (agency workers) 18AB - Agency workers: general provisions Reg.19 - Protection of Young Persons | - Employees must report defects, use equipment in accordance with provided instructions and training - Risk assess new or expectant mothers and young persons |

(Continued)

| Management of Health and Safety |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Employers' Liability (Compulsory Insurance) Regulations 1998, As Amended | This legislation requires that any company with employees that normally work within England, Scotland or Wales have at least a minimum level of insurance coverage (Employer’s Liability Insurance). Policies are required to cover claims from employees injured at work, or who become ill as a result of their work. | - You must use an authorised insurer - The Financial Conduct Authority (FCA) maintains a register of authorised insurers - Your Certificate of Employers Liability Insurance must state clearly the minimum level of cover provided and the companies covered by the policy - You must display a copy of the Certificate of Insurance where employees can easily read it (or provide it electronically) |

(Continued)

| Management of Health and Safety |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Health And Safety (Consultation With Employees) Regulations 1996, As Amended | These regulations place a duty on employees to consult with those employees not represented by safety representatives under the Safety Representatives And Safety Committees Regulations 1977. Regulation 4-7 focuses on: Reg. 4 - You may consult employees directly or through an elected representative known as a representative of employee safety (RoES). Reg.5 - Provision of information Reg.6 - Functions of representatives of employee safety Reg. 7 - Training, time off and facilities for representatives of employee safety and time off for candidates | - Consult with employees directly or an elected representative of employee safety(RoES) - Provide necessary health& safety information to fully participate in consultation - Allow RoES adequate training, time off and facilities which they require |
|  | Safety Representatives And Safety Committees Regulations 1977, As Amended | Employers who recognise trade unions must consult safety representatives(SR) appointed by the unionised workforce on issues affecting their health and safety | - Must consult those safety representatives on matters affecting the group or groups of employees they represent - Time off with pay to perform their functions and to undergo necessary training - Make information available to SRs to allow them to fulfil their duties |

| Management of Health and Safety |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Health And Safety Information For Employees Regulations 1989, As Amended | Employers shall ensure that current versions of the approved poster are kept displayed in readable conditions in places reasonably accessible and in such a position as to be easily seen and read by employees. | - Display the health and safety law poster or give leaflets to employees |

(Continued)

| Management of Health and Safety |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Health And Safety (Safety Signs And Signals) Regulations 1996, As Amended | Signs must comply with requirements under Schedule 1 (with the exemption of works traffic, where the appropriate sign under the Road Traffic Regulation Act 1984 shall be used) Specified colours and shapes of safety signs include, - Red - Prohibition, Danger Alarm, Fire Fighting: Circular with a black pictogram on a white background, red edging and diagonal line (the red part to take up at least 35% of the area of the sign). - Yellow/Amber - Warning Sign: Triangular shape with a black pictogram on a yellow background with black edging (the yellow part to take up at least 50% of the area of the sign). - Blue - Mandatory Sign: Circular with a white pictogram on a blue background (the blue part to take up at least 50% of the area of the sign). - Green - Fire Exit, No Danger: Rectangular or square shaped with a white pictogram on a green background (the green part to take up at least 50% of the area of the sign) | - Use safety signs when a risk assessment shows risks cannot be controlled in any other way - Ensure the signage follows the specified colours and shape |
| Occupational Health |  |  |  |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Control Of Asbestos Regulations 2012 | Control of Asbestos Regulation came into force on 6th April 2012. This replaced the previous 2006 law. These Regulations place a specific duty to identify, monitor and manage asbestos on the owners and/or those responsible for maintenance in non-domestic premises. This is the duty holder. Control of Asbestos Regulations 2012 (CAR, 2012) is made up of 35 Regulations. The parts most relevant to school premises are Regulations 4-24 Reg.4 - Duty to manage asbestos in non-domestic premises Reg.5 - Identification of the presence of asbestos Reg.6 - Assessment of work which exposes employees to asbestos Reg.7 - Plans of work Reg.8 - Licensing of work with asbestos Reg.9 - Notification of work with asbestos Reg.10 - Information, instruction and training | - Asbestos Survey - Carry out a suitable and sufficient assessment to determine if asbestos is present or liable to be present. This is the asbestos survey and must be recorded. - Asbestos management plan - Where the assessment shows asbestos is or is liable to be present in the building, a written plan identifying the areas of the premises concerned and that any measures to manage the risk are specified in the plan. The information contained in the plan includes; monitoring arrangements of the condition of any asbestos. Emergency arrangements - Asbestos Information - Information about the location and condition of asbestos must be provided to any person liable to disturb it and made available to the emergency services - Asbestos Inspection - Ensure that at least every 12 months, known asbestos is visually inspected for signs of deterioration. Highlight any issues to those responsible for maintenance - Training-Provide training for any employee such as the premises manager who is liable to be exposed to asbestos or supervises contractors. This could be every 3 years |

| Occupational Health |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
| 20. | Control Of Asbestos Regulations 2012 (Continued) | Reg.11 - Prevention or reduction of exposure to asbestos Reg.12 - Use of control measures etc. Reg.13 - Maintenance of control measures etc. Reg.14 - Provision and cleaning of protective clothing Reg.15 - Arrangements to deal with accidents, incidents and emergencies Reg.16 - Duty to prevent or reduce the spread of asbestos Reg.17 - Cleanliness of premises and plant Reg.18 - Designated areas Reg.19 - Air monitoring Reg.20 - Standards for air testing and site clearance certification Reg.21 - Standards for analysis Reg.22 - Health records and medical surveillance Reg.23 - Washing and changing facilities Reg.24 - Storage, distribution and labelling of raw asbestos and asbestos waste | - Review - Regularly review asbestos management at your site and ensure the asbestos survey data is kept up to date - Asbestos Refurbishment/Demolition Survey - Complete this before any refurbishment is carried out on the school |

(Continued)

| Occupational Health |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Control Of Noise At Work Regulations 2005, As Amended | These regulations set out requirements for companies to take to counter the risk of damage to hearing when noise in the workplace reaches certain action levels. | - Undertake a risk assessment when employees are exposed to noise or greater than the peak sound pressure and lower exposure action value(LEAV) - Seek to reduce noise exposure and provide personal ear protection |
|  | Control Of Vibration At Work Regulations 2005, As Amended | These regulations aim to protect workers from risks to health from vibration. They introduce action and limit values for both hand-arm and whole-body vibration | - Undertake risk assessments for tasks involving exposure to vibration - Appropriate information, instruction and training are required to be provided to employees where a risk assessment identifies a risk of exposure to vibration or if employees are likely to be exposed to vibration at or above an action value. - Employers shall also be required to place employees under suitable health surveillance |

(Continued)

| Others |  |  |  |
| --- | --- | --- | --- |
|  | Guidance (ACoP) | Summary of Guidance (ACoP) | How to Demonstrate Compliance |
|  | Legionnaires Disease: The Control Of Legionella Bacteria In Water Systems, ACoP 2013. | This Approved Code of Practice (ACoP) gives practical advice on the requirements of the Health and Safety at Work etc. Act 1974, the Management of Health and Safety at Work Regulations 1999 and the Control of Substances Hazardous to Health Regulations 2002 that concern the risk from exposure to Legionella bacteria Part 2 (technical guidance) of the 2000 ACoP has been removed and is published separately as HSG274. | - Appoint a competent person/company to carry out a water risk assessment to identify and assess sources of risk - Prepare a scheme for preventing or controlling the risk - Implement, manage and monitor control measures - If control measures are to remain effective, then regular monitoring of the systems and the control measures is essential - Keep records of the control measures in place - Appoint a person to be responsible for the management of water/legionella on the premises. - Provide training for the appointed person |

(Continued)

| Others |  |  |  |
| --- | --- | --- | --- |
|  | Act | Summary of Act | How to Demonstrate Compliance |
|  | Coronavirus Act 2020 | This Act introduced a range of powers to respond to the COVID-19 outbreak Schedule 16 enables the Secretary of State in England and devolved authorities across the UK to temporarily close educational institutions and childcare providers Under Schedule 17, temporary continuity directions may be applied requiring certain bodies or institutions to take specified actions regarding education, training or childcare, delivery of associated services or the provision of ancillary services or facilities | - Refer to and follow the government’s guidance |
|  | Coronavirus: Restrictions On Movement, Gatherings And Business Premises | COVID-19 restrictions have now been replaced with guidance across the UK | Refer to and follow the government’s guidance HSE: Coronavirus (COVID-19) – Advice for workplaces UK Health Security Agency: Reducing the spread of respiratory infections, including COVID-19, in the workplace |

(Continued)

| Personal Protective Equipment |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Personal Protective Equipment At Work Regulations 1992, As Amended | Employers must provide suitable PPE to each worker exposed to risks that are not adequately controlled by other means. A 2022 amendment extended duties under these regulations to cover limb (b) workers. These workers include persons subject to a contract to deliver a service but not the self-employed, as defined by Section 230(3)(b) of the Employment Rights Act 1996 Employers duties: Reg. 4 - Provision of PPE Reg. 5 - Compatibility of PPE Reg. 6 - Assessment of risk and suitability for the task Reg. 7 - Maintenance and replacement of PPE Reg. 9 - Provision of information, instruction and training for employee Reg. 10 - Use of PPE Employers and Employees duties-employees must use PPE as directed | - Provide appropriate PPE to employees as at and when required - Complete risk assessments on tasks to ensure suitable PPE is provided - Replace PPE when required - Provide employees with appropriate information, instruction and training on the use and limits of PPE |

| Plant and Machinery |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Provision and Use of Work Equipment Regulations 1998 (PUWER) | These Regulations, often abbreviated to PUWER, place duties on people and companies who own, operate or have control over work equipment. Work equipment is any machinery, appliance, apparatus, tool or installation for use at work. Regulations 4 - 24 focus on Reg. 4 - Suitability of work equipment for purposes for which it has been provided Reg. 5 - Maintenance: Reg. 6 - Inspection Reg. 7 - Specific Risks Reg. 8 - Information and instructions Reg. 9 - Training Reg. 10 - Conformity with community requirements Reg. 11 - Dangerous parts of machinery Reg. 12 - Protection against specified hazards Reg. 14 - Controls for starting or making a significant change in operating conditions are properly positioned | - Complete a PUWER assessment checklist - Use permits to work system where relevant - Ensure you have a planned maintenance programme of work equipment in place - Have an inventory of all work equipment used in the school. For example, Billy goats, Hand tools, Power tools - Ensure work equipment are maintained and maintenance documents kept up to date - Inspect Work equipment after installation, before used for the first time, after any assembly or after moving to a new site. Also when exposed to conditions that may cause deterioration, inspect more frequently - Restrict the use of work equipment to persons who have been trained to use, repair and maintain it - Provide adequate information and training for staff that will need to use specific work equipment. Information should relate to the conditions in which the WEq may be used, methods in which it may be used, action in an emergency and work experience with the Weq |

| Plant and Machinery |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  |  | Reg. 15 - Stop controls Reg. 16 - Emergency stop controls Reg. 17 - Control Reg. 18 - Control systems Reg. 19 - Isolation from sources of energy Reg. 20 - Stability Reg. 21 - Lighting Reg. 23 - Markings Reg. 24 - Warnings | - Ensure purchased work equipment has conformity markings such as CE or UKCA - Ensure all reasonable measures are taken to prevent access to dangerous parts of a machine - Put in place measures to protect operators from specified hazards such as falling, ejected articles, disintegration, overheating and explosion. Any measures taken should minimise the effects of the hazard and reduce its likelihood and shall not be dependent on PPE, the provision of information, training or supervision - Ensure controls are clear, and not in positions that create risk - Work equipment should be used in well-lit areas - Ensure markings and warnings are visible and easily understood |

(Continued)

| Plant and Machinery |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Supply Of Machinery (Safety) Regulations 2008, As Amended | These Regulations implemented the Machinery Directive (2006/42/EC). The obligations in the regulations include ensuring the safety of products (by reference to the essential health and safety requirements); following a “conformity assessment procedure”; and documenting their compliance with the requirements of the Directive in various ways, which is notably achieved by drawing up a “declaration of conformity” and affixing the required conformity marking to the product. | - Ensure machinery bought for use by the school has the UK Conformity Assessment (UKCA) mark; or If originating in Northern Ireland: CE marking or both a CE and UK(NI) mark |

(Continued)

| Transport |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Motor Vehicles (Driving Licences) Regulations 1999, As Amended | These Regulations require all persons operating vehicles to hold an appropriate licence. | - Ensure that all staff who drive for work hold appropriate licence |
| Safe Systems of Work |  |  |  |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Confined Spaces Regulations 1997 | The regulations specify that entry to confined spaces should be avoided where possible, e.g. by doing the work externally. Where entry is required, a safe system of work must be followed and adequate emergency arrangements must be in place before the work starts. | - Where any work is to be carried out in a confined space, a risk assessment to identify the risk associated with those working there, including contractors and the general public in the vicinity who could be affected by the work must be completed. - No person should enter, work in or leave a CS without following a safe system of work |

(Continued)

| Safe Systems of Work |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Manual Handling Operations Regulations 1992, As Amended | This regulation means any transporting or supporting of a load (including the lifting, putting down, pushing, pulling, carrying or moving thereof) by hand or by bodily force. This regulation places duties on employers and employees. | - Carry out a risk assessment of manual handling tasks with a risk of employee being injured. - Review manual handling risk assessment - Employees should follow safe systems of work established, including the proper use of equipment provided - Provide lifting equipment such as trolleys - Train staff who are required to do any lifting such as the premises manager - Arrangements for manual handling should be included in the school’s health and safety policy |

(Continued)

| Safe Systems of Work |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Health And Safety (Display Screen Equipment) Regulations 1992, As Amended | The regulations aim to protect workers by reducing the risks from the use of display screen equipment (DSE) | - Carryout DSE Workstation assessments - Ensure workstations meet specified minimum requirements - Encourage staff to take breaks and have activity changes - Provide eyesight test and glasses when requested by staff - Provide training and information to staff using DSE |

(Continued)

| Safe Systems of Work |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Work At Height Regulations 2005, As Amended | The regulations apply to all work at height where there is a risk of a fall liable to cause personal injury. Regulations 4-14 focus on Reg. 4 - Work at height should be properly planned, supervised and carried out in a safe manner Reg. 5 - Competency of the persons working at height Reg. 6 - Avoiding working at height Reg. 7 - Selection of equipment Reg. 8 - Particular work equipment Reg. 9&11 - Deals with fragile surfaces, falling objects and dangerous areas. Reg. 12&13 - Inspection of certain work equipment. Reg. 14 - Duties of persons at work to report defects and use work equipment as training and instructions specify | - Risk assess work at height activities such as using ladders to hang displays in classrooms and hallways, gutter cleaning etc. - Ladders must be inspected at least every 6months and visual checks before being used - Training for staff who work at height |

(Continued)

| Workplace Conditions And Housekeeping |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
|  | Workplace (Health, Safety And Welfare) Regulations 1992, As Amended | The regulations cover a wide range of basic health and safety issues such as: Reg.5 - Maintenance of workplace and equipment, devices and systems Reg.6 - Ventilation Reg.7 - Temperature in indoor workplaces Reg.8 - Lighting Reg.9 - Cleanliness and waste materials Reg.10 - Room dimensions and space Reg.11 - Workstations and seating Reg.12 -Condition of floors and traffic routes Reg.13 - Falls or falling objects Reg.14 - Windows, and transparent or translucent doors, gates and walls Reg.15 -Windows, skylights and ventilators Reg.16 - Ability to clean windows etc. safely Reg.17 - Organisation etc. of traffic routes Reg.18 - Doors and gates Reg.19 - Escalators and moving walkways Reg.20 - Sanitary conveniences Reg.21 - Washing facilities Reg.22 - Drinking water Reg.23 - Accommodation for clothing Reg.24 - Facilities for changing clothing | - Put in place a maintenance program to ensure equipment, devices and systems are in good repair - Ensure good ventilation, reasonable temperature is maintained, suitable lighting is provided and the workplace is kept clean - An adequate supply of water should be provided. It should be readily accessible and sufficient cups should be provided unless the supply is from a jet from which persons can easily drink. - Suitable and sufficient facilities should be available for accommodation of clothing, facilities for changing clothes where necessary and facilities to rest and eat meals - Workplaces shall have a sufficient floor area, height and unoccupied space for the purposes of health and safety and work. At least 11m3 per person should be allowed, counting any headroom above 3m as 3m. |

| Workplace Conditions And Housekeeping |  |  |  |
| --- | --- | --- | --- |
|  | Regulation | Summary of Regulation | How to Demonstrate Compliance |
| 34. | Workplace (Health, Safety And Welfare) Regulations 1992, As Amended (Continued) | Reg.25 - Facilities for rest and to eat meals | - Floors and traffic routes should be kept free of trip hazards and suitable handrails on staircases. Traffic routes must have sufficient separation of vehicle routes from doors and gates - Doors and gates must be inspected and maintained to ensure they operate safely - Provide sufficient, well-lit sanitary conveniences and washing facilities, including showers if necessary |

| Guidance Version Control |  |  |
| --- | --- | --- |
| Name Of Document | Version | Last Review date |
| Health and Safety Legal Register | NASPM V3 | September 2024 |

Copyright © 2024 NASPM

All rights reserved.

No part of any NASPM document may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods, to any individual, school, or organisation outside of the school named in the school membership agreement.

Should membership terminate, no part of any NASPM document may be used, reproduced, distributed or transmitted by any individual, school, or organisation.