# FM/H&S

# Due Diligence Procedure

# On Adding

# New Schools

# To

# Academy Trusts

Document 67

FM Diligence on an Incoming School

The following detail seeks to set out the necessary requirement of detail for/from an existing school joining the Trust.

The key considerations for all active and necessary services are

- What services are required?

- How are they currently delivered?

- By whom is it currently delivered?

- Under what form of Contract or SLA is it measured/managed?

- Is the intent or opportunity for continuation present or desired?

- How can the service be maintained or delivered?

Security

- What is the current School opening procedure?

- Are designated staff identified and how do we ensure all necessary protocols are clear and followed?

- Are designated key holders named persons and do they currently interface with Alarm setting, disarming and checking all recorded events, including Intruder, Fire etc.?

- Is an out-of-hours alarm control agreement in place?

Catering

Response required to 1 – 6 above.

Cleaning

Response required to 1 – 6 above.

Statutory Maintenance Obligations

Response required to 1 – 6 above.

Planned Maintenance

Response required to 1 – 6 above.

Specialist Services

These may include

- CCTV

- Intruder alarms

- Additional door security

- LOLER

- PUWER,

- Stage lighting and controls

- Fire extinguishers

- PAT testing

- General and Recycling Waste collection

Additional Activities

Third Party attendance, Sports, lettings etc.

Health and Safety

- Is an external advisor agreement in place?

- Who is the lead and how does the school’s internal committee function?

FM/Caretaking Services

Response required to 1-6 above.

Current, Planned Lifecycle or Major Project Works

With all details of proposed and active funding streams.

Note

There will be multiple/further possible specialist services to consider depending on possible/alternative energy/utility sources i.e. DHN, PV, Generator management etc.

If in good order a full PPM schedule or activities matrix should be in place with all necessary provider details, paperwork, Certification etc. logged, recorded and available for immediate inspection.

As soon as it is practical and where necessary all existing service providers should be invited to attend the school to familiarise themselves with all facets of the building to ensure unbroken continuity of service/s and further, should be fully inducted into the operational requirements and processes of the Trusts individual and Estate wide service delivery model/s.

Similarly, all new/additional service providers should be fully inducted into the operational requirements and processes of the Trusts individual and Estate wide service delivery model/s.

Finally, the most recent Asset condition survey should be sought as a matter of urgency and a full conditions review and risk assessment completed to include but not limited to:

- Asbestos management – evidence of last survey and re-inspection with confirmation of works

- Fire Safety – fire door condition – fire alarm age/recommendations

- Roof condition

- Plant/Boiler condition

| Guidance Version Control |  |  |
| --- | --- | --- |
| Name Of Document | Version | Last Review date |
| FM/H&S Due Diligence Procedure on Adding New Schools to Academy Trusts | NASPM V2 | December 2024 |

Copyright © 2024 NASPM

All rights reserved.

No part of any NASPM document may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods, to any individual, school, or organisation outside of the school named in the school membership agreement.

Should membership terminate, no part of any NASPM document may be used, reproduced, distributed or transmitted by any individual, school, or organisation.