Finger Trap

Risk Assessment

Checklist

Document 75

Finger Trap Risk Assessment Checklist

The extent of the risk posed by each door or gate to people depends on the criteria given below:-

Design characteristics of the door and position

- Identify whether an exposed pinch point exists within the hinge cavity or handle side

- The weight of the door/gate

- The profile of the door/gate edges (do they have rounded edges, aluminium sharp profile edges)

- Is the door/gate closure managed by a door closer (such as those found on fire doors in corridors)

- Is the door positioned in such a way that it could be slammed shut by the wind or a person?

The likelihood of young children or vulnerable people being in a position to place their fingers in any pinch point that exists could be influenced by

- The position/use of the door/gate and the frequency with which young children or vulnerable people use it

- The likelihood that young or vulnerable persons will congregate next to a door/gate, with limited close supervision, e.g. queuing for lunch or toilet facilities

- The age and physical/mental abilities of children/vulnerable person

- Foreseeable behaviour and level of supervision and control exercised over children/vulnerable person

The above factors need to be considered to establish a risk for each door

| School: | Date of Assessment: |
| --- | --- |
| Assessor: | Date of Review: |

| Location of the Door | Risk Rating |  |  | Door Type? Wood/ Metal/ Other | Door Self-Closer Fitted? | Finger Guard Required? | Does Self-Closer Require Adjustment? | Action required | Date Action Completed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | H | M | L |  |  |  |  |  |  |

Note

# For external gates - It is important that there are no finger or hand traps and shear points.

# This means that there should be a minimum gap of 12mm between the gate and the posts etc., both sides of the gate, should eliminate metal to metal finger/hand crushing.

# This minimum gap should be maintained throughout the full range of movement of the gate throughout its full arc.

| Guidance Version Control |  |  |
| --- | --- | --- |
| Name Of Document | Version | Last Review date |
| Finger Trap Risk Assessment Checklist | NASPM V2 | October 2024 |

Copyright © 2024 NASPM

All rights reserved.

No part of any NASPM document may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods, to any individual, school, or organisation outside of the school named in the school membership agreement.

Should membership terminate, no part of any NASPM document may be used, reproduced, distributed or transmitted by any individual, school, or organisation.