# Premises

# Manager

# Health

# and

# Safety

# Leadership

# Document 99

Health and Safety Premises Management Leadership Standards

Responsibilities of the School Premises Manager

Most schools have School Premises Managers as the lead premises Health and Safety Co-ordinator, responsible for the co-ordination of building and site health and safety management throughout the school. The SPM role may also include other titles such as

- Operations Manager/Director

- Health and Safety Manager

- Estates and Health Safety Manager

The focus within this folder is the School Premises Manager heading as this largely remains the same across the nation.

The School Premises Manager is Responsible for:

The Premises Manager is responsible to the Headteacher/Business Manager, in ensuring compliance with all health and safety regulations in respect of matters affecting cleanliness, security and maintenance of all school buildings and grounds, including:

- Ensuring risk assessments are completed with risk control measures in place, managed and monitored;

- Ensuring compliance by periodic inspection of all areas;

- Ensuring that appropriate signs and notices have been displayed;

- Ensuring that hazards are removed;

- Ensuring that fire exits are accessible and that fire-fighting equipment is correctly positioned and serviced;

- Ensuring that first aid equipment and supplies are correctly maintained and readily available;

- Ensuring that other staff at the school are aware of their responsibilities as appropriate;

- Notifying appropriate agencies via the line manager where there is a pest or vermin problem and dealing with the problem as directed;

- Ensuring that the school buildings are maintained in a safe manner and that all fire exits are unlocked and available, this includes the holiday periods;

- Not to work at height if no safe working procedures, i.e. going onto a flat roof with no edge protection or man safe systems;

Vital Key Role –

Statutory Compliance and Local Health and Safety Management

- The SPM role has a direct control function for the compliance of the whole school.

- The SPM role has a key security management role.

- The SPM has control of the premises, including access and egress, and contractor management.

- This means that this role is deemed a vital part of the school health and safety management and monitoring as managing the operational standards and reporting on the management and compliance of health and safety.

Health and Safety Oversight

- Legal compliance

- Testing and Challenging

- Assurance of compliance

- Correct Health and Safety Culture

- Building Statutory Compliance

- Failings – accident data, RIDDORs, Claims, potential enforcement

- Competence – a competent person’s role

- Audits

- Risk Management and escalation of risk

All of the above will need a testing and challenging approach to give assurance of compliance. Refer to the testing and challenging folder.

| Guidance Version Control |  |  |
| --- | --- | --- |
| Name of Document | Version | Last Review date |
| Premises Manager Health and Safety Leadership | NASPM V1 | October 2024 |

Copyright © 2024 NASPM

All rights reserved.

No part of any NASPM document may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods, to any individual, school, or organisation outside of the school named in the school membership agreement.

Should membership terminate, no part of any NASPM document may be used, reproduced, distributed or transmitted by any individual, school, or organisation.