# Water-Flushing Register Internal Outlets

# (Weekly)

# Document 131

Water-Flushing Register Internal Outlets (Weekly)

- Flush at least weekly (Monday mornings and first day back from holidays)

- Flush 2 mins for cold water, 1 min for hot water

| Weekly Water-Flushing Internal Outlets |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Building | Location/Description | Date | Date | Date | Date | Date |
| E.g. Main | Ground floor EYFS shower, washbasin, toilet | 04.08.25 | 11.08.25 | 18.08.25 | 25.08.25 |  |

| Location and Item | Comment/Action | Date |
| --- | --- | --- |

| Guidance Version Control |  |  |
| --- | --- | --- |
| Name of Document | Version | Last Review date |
| Water-Flushing Register Internal Outlets (Weekly) | NASPM V1 | August 2025 |

Copyright © 2024 NASPM

All rights reserved.

No part of any NASPM document may be reproduced, distributed, or transmitted in any form or by any means, including photocopying, recording, or other electronic or mechanical methods, to any individual, school, or organisation outside of the school named in the school membership agreement.

Should membership terminate, no part of any NASPM document may be used, reproduced, distributed or transmitted by any individual, school, or organisation